Audit Approach

This program will be used to audit Data Center Operations using a risk based approach.  Most Campus Data Centers are responsible for the management, physical controls, and operation of enterprise IT systems.  Account management may be performed by a help desk that is not directly part of the Data Center.  The Data Center is also normally responsible for the installation and maintenance of the operating systems for the computers used to process production IT systems.  Database and application administration may or may not be performed by Data Center staff.  If any core Data Center functions for systems that contain restricted data are performed remotely it must be confirmed they are using secure methods of connecting with systems in the Data Center.  A system wide group of Joint Data Center Managers meets to discuss Data Center related topics, shares best practices and works together on solutions to common problems.  They might be a resource during this audit and they can be contacted through their web site hosted at UCSB, http://jdcmg.isc.ucsb.edu/.

Preliminary Survey and Risk Assessment

The general overview will include interviews of department management and key personnel; evaluation of policies and procedures associated with Data Center processes, inventory of compliance requirements; consideration of key operational aspects; and an assessment of the information systems environment.  Prior audits should be reviewed to determine impact, if any.  If the data center was reviewed, as part of the system wide IS-3 self assessment, that documentation should be obtained and reviewed as one of the first steps in the audit.  During the overview, a general understanding of the management structure, compliance requirements, financial issues, daily and routine operations, and efficiency and effectiveness of the operation will be obtained (or updated).

As needed, the general overview will incorporate the use of internal control questionnaires, process flowcharts, and an assessment of the maturity of the processes and internal controls.

- The following table summarizes audit objectives and corresponding high-level risks to be considered during the preliminary survey.

| Audit Objective | Areas of Risk |
| --- | --- |
| Obtain an understanding of significant processes and practices supporting the Data Center operations, specifically addressing the following components: Management philosophy, operating style, and risk assessment practices including: Awareness of and compliance with applicable laws regulations and policies. Note: if your campus performed an IS-3 self assessment of the Data Center this information may be used to help determine compliance with that policy. Planning and management of Data Center Operations Change Management Formal Risk assessment practices and procedures Efficient and effective operations Organizational structure, governance and delegations of authority and responsibility Positions of accountability for financial and operational results Process strengths (best practices), weaknesses, and mitigating controls | Data Center management systems may be ineffective and inefficient due to misalignment with their mission and not capable of meeting the business objectives. A formal risk assessment may not have been performed. Organizational structure may be inappropriate for achieving business objectives. Insufficient separation of duties may increase risks of errors or inappropriate actions. Equipment and software may be inappropriate for achieving the business objectives Operating systems may not be properly configured or maintained (patched) resulting in insecure systems. User permissions may not be assigned on the principle of “least privileges.” Superuser accounts may be used inappropriately. IS-3 states “Personnel who require privileged accounts should also have non-privileged accounts to use when not performing system administration tasks and should be instructed not to use their privileged accounts for non-authorized purposes. Superusers may be able to alter the security and audit logs of their own activities. System and security logs may not be reviewed by appropriate staff. New systems may not be adequately scanned for vulnerabilities and unnecessary services before being placed in the production environment. |

B.	Preliminary Survey and Risk Assessment procedure steps:

- Interview the department director, Campus IT Security Expert, and key managers to identify and assess their philosophy and operating style, regular channels of communication, and risk assessment processes.

- Gain an understanding of data center operational processes by reviewing written procedure manuals.  If written procedures do not exist or are not followed flowcharting key processes may be needed to identify process strengths, weaknesses, and mitigating controls.

- Contact the person on your campus that is responsible for the system-wide IS-3 self assessments and determine if a self assessment was done for the Data Center.  If so, obtain a copy of this assessment.  This assessment may provide much of the background information and answer many of the questions in the ICQ.  If the Data Center was not assessed as part of this exercise an explanation should be obtained and potentially written up as an audit finding.

- Obtain the department’s organization chart and management reports.

- Interview select staff members to obtain the staff perspective.  During all interviews, solicit input on concerns or areas of risk.

- Evaluate the organizational structure to assure the proper accountability and separation of duties exists.  (Job descriptions, procedure manuals, and/or interviews may be needed to accurately access separation of duties.)

- Obtain and evaluate incident reporting and response procedures and tracking.

- Obtain a copy of the emergency response plan.

- Determine who is responsible for declaring an emergency and invoking the emergency response plan.

- Identify the key Data Center functions, activities, services, and missions.  Some data centers may still run mainframe systems and engage in program development, batch processing, have input and output products and controls and related internal controls, like control totals, etc.  Other data centers may primarily provide the service of managing, maintaining, monitoring, and securing IT systems that are used by application developers and administrators who are not part of the Data Center staff.  Understanding the functions and services provided by your Data Center will determine how detailed testing should proceed.  Most all Data Centers engage in the following activities:

  - Patching operating systems, data bases, and applications.  The patching process may also involve testing patches in a test or QA environment prior to apply patches to production systems.

  - Security monitoring and incident reporting

  - Operating system software administration including internal OS account management.

  - Administrative planning and support including capacity planning, preventative maintenance and replacement.

  - Decommissioning procedures to assure sensitive or restricted data are removed or destroyed before hardware is surplused or otherwise disposed.

  - Backup and recovery processes including routine backups, storage and recovery planning, and testing.

  - If your Data Center is running mainframe systems consider input/output testing including controls totals, RACF audits, and others as appropriate.  Detailed mainframe audit programs to address batch processing and other activities are available from www.isaca.org and other web sources.

  - If your Data Center is using virtualization in a Windows or other environment SANS publishes top ten mistakes lists and detailed audit programs.  Develop specific audit tests as needed to fit your unique environment.

- Determine through interviews and visual inspection the physical security and environmental controls in the Data Center.

- Determine if the Data Center is using any standards or best practices for managing IT services.  The system-wide Joint Data Center Managers, referenced above, uses Information Technology Infrastructure Library (ITIL) as an integrated, process-based, best practice framework for managing IT services.  Determine if your campus has adopted this, or another standard.  If so, standards or models may provide the basis for detailed testing.

- Obtain and review a list of all systems in the Data Center.  The list should include the purpose of the system, the platform it is running on, and any dependencies it may have on other systems or resources.

- Review management’s monitoring reports and supervision of the data center staff and/or operations.

- Develop detailed test objectives and procedures, and conduct detailed testing as appropriate based on auditor judgment.

- Following completion of the preliminary survey, a high-level risk assessment should be performed and documented in a risk and controls matrix workpaper.

Financial Management

- The following table summarizes audit objectives and corresponding financial management risks.

| Audit Objective | Areas of Risk |
| --- | --- |
| Evaluate the adequacy of financial resources, and appropriate financial planning consistent with the objectives of the Data Center. Include the following components: Determine how Data Center budgets are managed and expenses tracked against budgeted amounts. Determine if risk analysis is part of budget allocation process. | IT equipment may be inadequate for the needs of its customers. Funds may not be budgeted for equipment replacement as required based on the expected useful life of the equipment. Purchase versus lease decisions may be flawed due to incorrect financial assumptions IT governance may not provide adequate consideration of IT service levels and IT security. |

- Financial Management Procedure Steps.

- Identify budgetary processes and reports used by the department.

- Review and discuss budgets and financial monitoring with responsible managers.  Determine if IT risk assessment and potential impacts are considered in the budgeting process.

- Determine if the department is funded sufficiently to adequately provide services and maintain security at an appropriate level.

- Determine if an equipment replacement life cycle is maintained and funded.

Compliance

- The following table summarizes audit objectives and corresponding risks regarding compliance with policies and procedures, and regulatory requirements.

| Audit Objective | Areas of Risk |
| --- | --- |
| Evaluate compliance with the following requirements: UCOP Policies IS-3 IS-10 IS-11 IS-12 Other Business and Financial Bulletins and other University policies Electronic communications policy Applicable State and Federal laws and regulations including: FERPA Gramm Leach Bliley (GLBA) HIPAA SB 1386 Evaluate adequacy and compliance with local policies, standards, and guidelines | Non-compliance could result in the fines, penalties, and sanctions. Poor security or poor performance from lack of adequate guidance policy. Delegations of authority may be inappropriate. Non-compliance of local processes with University requirements may negatively impact reliability and security of the systems. |

- Compliance Testing Procedure Steps

.

- Obtain an understanding of applicable state or federal regulations.

- Determine whether state or federal regulations apply to system and data in the Data Center (e.g., HIPAA, FERPA, GLBA, etc.).

- Obtain an understanding of applicable University policies

- Determine how compliance with applicable policies and state or federal laws or regulations is achieved and documented.

Operational Effectiveness and Efficiency (50 hrs – 17%)

- The following table summarizes audit objectives and corresponding risks regarding operational effectiveness and efficiency.

| Audit Objective | Areas of Risk |
| --- | --- |
| Evaluate the adequacy of operational effectiveness and efficiency consistent with the objectives of Data Center management. Include the following components: Adequacy of Data Center personnel skill and training Self-evaluation and efforts for continuous improvement Specialization of work – centralized vs. decentralized Appropriate management of contracts Process in evaluating the needs for new and/or upgrades to hardware, software, and facilities | Operation effectiveness and efficiency could be compromised due to poor system performance Lack of proper planning could allow the condition of inadequate capacity to develop Self-evaluation and improvement processes may not be aligned with the directives of management Service levels may not satisfy the needs/requirements of the Data Center and its customers Paying more for services when less expensive alternatives would satisfy needs |

- Operational Effectiveness and Efficiency Procedure Step

  - Determine if the Data Center has service level agreements with the clients it serves.  If so, do they measure themselves for compliance with the agreement?  If needed, survey clients for concerns.

  - Determine if use of contractors is appropriate and cost effective when Data Center staff do not have the necessary skills, knowledge or abilities.

  - Determine how senior management monitors Data Center effectiveness and efficiency.  Are their measures accurate and sufficient to make good business decisions?